## Plate 1 - Sheet1
Software Version | 3.14.03
Experiment File Path:
Protocol File Path: | C:\Users\Public\Documents\Protocols\coth3_triplicates.prt
Plate Number | Plate 1
Date | 2025-08-27
Time | 14:01
Reader Type: | Cytation5
Reader Serial Number: | 23110726
Reading Type | Reader
Procedure Details
Plate Type | 96 WELL PLATE
Well Selection | Runtime
Eject plate on completion
Read | Fluorescence Spectrum
Full Plate
Fixed Excitation: 290/9 nm
Emission Start: 310/9 nm, Stop: 450 nm, Step: 1 nm
Optics: Top, Gain: 72
Light Source: Xenon Flash, Lamp Energy: High
Read Speed: Normal, Delay: 100 msec, Measurements/Data Point: 10
Read Height: 7 mm
EM Spectrum
| Wavelength | A1 | A2 | A3 | A4 | A5 | A6 | A7 | A8 | A9 | A10 | A11 | A12 | B1 | B2 | B3 | B4 | B5 | B6 | B7 | B8 | B9 | B10 | B11 | B12 | C1 | C2 | C3 | C4 | C5 | C6 | C7 | C8 | C9 | C10 | C11 | C12 | D1 | D2 | D3 | D4 | D5 | D6 | D7 | D8 | D9 | D10 | D11 | D12 | E1 | E2 | E3 | E4 | E5 | E6 | E7 | E8 | E9 | E10 | E11 | E12 | F1 | F2 | F3 | F4 | F5 | F6 | F7 | F8 | F9 | F10 | F11 | F12 | G1 | G2 | G3 | G4 | G5 | G6 | G7 | G8 | G9 | G10 | G11 | G12 | H1 | H2 | H3 | H4 | H5 | H6 | H7 | H8 | H9 | H10 | H11 | H12
| 310 | A7: 5; A8: 2; A9: 3; C8: 243; C9: 215; C10: 217; C11: 250; C12: 114; H8: 136; H9: 192; H10: 192; H11: 133; H12: 90
| 311 | A7: 8; A8: 9; A9: 6; C8: 252; C9: 238; C10: 227; C11: 262; C12: 117; H8: 144; H9: 198; H10: 200; H11: 140; H12: 98
| 312 | A7: 6; A8: 10; A9: 0; C8: 277; C9: 253; C10: 249; C11: 273; C12: 128; H8: 156; H9: 218; H10: 212; H11: 152; H12: 105
| 313 | A7: 4; A8: 9; A9: 11; C8: 284; C9: 264; C10: 251; C11: 281; C12: 133; H8: 165; H9: 225; H10: 228; H11: 166; H12: 110
| 314 | A7: 7; A8: 5; A9: 7; C8: 306; C9: 278; C10: 275; C11: 307; C12: 137; H8: 171; H9: 240; H10: 249; H11: 174; H12: 115
| 315 | A7: 5; A8: 2; A9: 3; C8: 316; C9: 293; C10: 300; C11: 329; C12: 145; H8: 184; H9: 255; H10: 259; H11: 183; H12: 120
| 316 | A7: 6; A8: 3; A9: 4; C8: 329; C9: 305; C10: 297; C11: 330; C12: 163; H8: 187; H9: 266; H10: 268; H11: 187; H12: 128
| 317 | A7: 4; A8: 4; A9: 7; C8: 350; C9: 323; C10: 323; C11: 358; C12: 163; H8: 200; H9: 280; H10: 278; H11: 205; H12: 122
| 318 | A7: 5; A8: 11; A9: 4; C8: 372; C9: 337; C10: 337; C11: 372; C12: 176; H8: 207; H9: 296; H10: 301; H11: 211; H12: 143
| 319 | A7: 9; A8: 11; A9: 6; C8: 384; C9: 343; C10: 356; C11: 388; C12: 182; H8: 218; H9: 304; H10: 300; H11: 216; H12: 145
| 320 | A7: 4; A8: 9; A9: 5; C8: 404; C9: 363; C10: 368; C11: 403; C12: 189; H8: 228; H9: 310; H10: 325; H11: 226; H12: 146
| 321 | A7: 6; A8: 11; A9: 6; C8: 404; C9: 368; C10: 370; C11: 414; C12: 193; H8: 231; H9: 330; H10: 330; H11: 240; H12: 161
| 322 | A7: 5; A8: 6; A9: 11; C8: 419; C9: 384; C10: 378; C11: 426; C12: 199; H8: 235; H9: 330; H10: 339; H11: 240; H12: 169
| 323 | A7: 9; A8: 9; A9: 8; C8: 456; C9: 409; C10: 411; C11: 449; C12: 216; H8: 254; H9: 363; H10: 361; H11: 258; H12: 175
| 324 | A7: 8; A8: 7; A9: 12; C8: 465; C9: 420; C10: 414; C11: 460; C12: 216; H8: 254; H9: 355; H10: 370; H11: 264; H12: 181
| 325 | A7: 4; A8: 6; A9: 9; C8: 480; C9: 442; C10: 435; C11: 469; C12: 230; H8: 267; H9: 373; H10: 375; H11: 266; H12: 184
| 326 | A7: 7; A8: 9; A9: 11; C8: 480; C9: 440; C10: 445; C11: 478; C12: 230; H8: 269; H9: 390; H10: 384; H11: 290; H12: 188
| 327 | A7: 7; A8: 8; A9: 11; C8: 509; C9: 457; C10: 456; C11: 499; C12: 243; H8: 282; H9: 407; H10: 404; H11: 304; H12: 195
| 328 | A7: 5; A8: 6; A9: 5; C8: 507; C9: 476; C10: 472; C11: 524; C12: 253; H8: 288; H9: 414; H10: 410; H11: 305; H12: 210
| 329 | A7: 7; A8: 7; A9: 8; C8: 530; C9: 487; C10: 483; C11: 527; C12: 259; H8: 300; H9: 417; H10: 425; H11: 308; H12: 214
| 330 | A7: 4; A8: 7; A9: 9; C8: 542; C9: 500; C10: 506; C11: 553; C12: 273; H8: 308; H9: 432; H10: 431; H11: 319; H12: 219
| 331 | A7: 2; A8: 9; A9: 7; C8: 559; C9: 511; C10: 526; C11: 568; C12: 274; H8: 317; H9: 441; H10: 441; H11: 336; H12: 232
| 332 | A7: 4; A8: 10; A9: 10; C8: 574; C9: 521; C10: 534; C11: 585; C12: 285; H8: 330; H9: 457; H10: 456; H11: 344; H12: 247
| 333 | A7: 10; A8: 7; A9: 7; C8: 591; C9: 527; C10: 547; C11: 590; C12: 292; H8: 337; H9: 475; H10: 471; H11: 354; H12: 247
| 334 | A7: 9; A8: 3; A9: 5; C8: 597; C9: 552; C10: 548; C11: 602; C12: 304; H8: 345; H9: 475; H10: 485; H11: 371; H12: 255
| 335 | A7: 6; A8: 5; A9: 7; C8: 612; C9: 550; C10: 559; C11: 616; C12: 308; H8: 339; H9: 484; H10: 493; H11: 365; H12: 271
| 336 | A7: 5; A8: 9; A9: 11; C8: 617; C9: 567; C10: 569; C11: 626; C12: 331; H8: 344; H9: 502; H10: 496; H11: 385; H12: 265
| 337 | A7: 5; A8: 6; A9: 8; C8: 632; C9: 562; C10: 587; C11: 623; C12: 326; H8: 341; H9: 504; H10: 502; H11: 376; H12: 270
| 338 | A7: 3; A8: 9; A9: 5; C8: 633; C9: 571; C10: 587; C11: 638; C12: 343; H8: 353; H9: 498; H10: 512; H11: 392; H12: 279
| 339 | A7: 8; A8: 13; A9: 9; C8: 640; C9: 591; C10: 600; C11: 636; C12: 341; H8: 352; H9: 513; H10: 518; H11: 392; H12: 286
| 340 | A7: 5; A8: 10; A9: 8; C8: 644; C9: 582; C10: 601; C11: 636; C12: 351; H8: 344; H9: 508; H10: 525; H11: 398; H12: 277
| 341 | A7: 5; A8: 4; A9: 3; C8: 645; C9: 608; C10: 600; C11: 645; C12: 354; H8: 363; H9: 527; H10: 526; H11: 397; H12: 287
| 342 | A7: 6; A8: 8; A9: 9; C8: 650; C9: 605; C10: 606; C11: 629; C12: 362; H8: 361; H9: 513; H10: 528; H11: 400; H12: 297
| 343 | A7: 4; A8: 9; A9: 8; C8: 639; C9: 598; C10: 609; C11: 658; C12: 363; H8: 357; H9: 523; H10: 541; H11: 414; H12: 301
| 344 | A7: 12; A8: 5; A9: 9; C8: 647; C9: 596; C10: 615; C11: 638; C12: 357; H8: 361; H9: 514; H10: 535; H11: 412; H12: 309
| 345 | A7: 4; A8: 7; A9: 7; C8: 652; C9: 602; C10: 607; C11: 635; C12: 370; H8: 361; H9: 523; H10: 530; H11: 416; H12: 311
| 346 | A7: 8; A8: 5; A9: 8; C8: 631; C9: 599; C10: 619; C11: 632; C12: 368; H8: 349; H9: 507; H10: 525; H11: 414; H12: 302
| 347 | A7: 6; A8: 9; A9: 6; C8: 626; C9: 595; C10: 624; C11: 643; C12: 378; H8: 359; H9: 512; H10: 524; H11: 402; H12: 302
| 348 | A7: 12; A8: 10; A9: 9; C8: 612; C9: 588; C10: 600; C11: 616; C12: 377; H8: 335; H9: 497; H10: 519; H11: 407; H12: 314
| 349 | A7: 6; A8: 5; A9: 6; C8: 603; C9: 566; C10: 595; C11: 600; C12: 372; H8: 341; H9: 498; H10: 513; H11: 402; H12: 321
| 350 | A7: 2; A8: 9; A9: 10; C8: 607; C9: 569; C10: 600; C11: 608; C12: 367; H8: 334; H9: 492; H10: 513; H11: 407; H12: 307
| 351 | A7: 10; A8: 4; A9: 5; C8: 585; C9: 556; C10: 574; C11: 590; C12: 360; H8: 333; H9: 483; H10: 504; H11: 395; H12: 313
| 352 | A7: 6; A8: 6; A9: 7; C8: 591; C9: 552; C10: 576; C11: 577; C12: 376; H8: 319; H9: 478; H10: 503; H11: 393; H12: 316
| 353 | A7: 9; A8: 3; A9: 5; C8: 575; C9: 533; C10: 560; C11: 579; C12: 369; H8: 314; H9: 471; H10: 492; H11: 377; H12: 305
| 354 | A7: 3; A8: 3; A9: 9; C8: 553; C9: 543; C10: 553; C11: 566; C12: 362; H8: 312; H9: 468; H10: 480; H11: 393; H12: 308
| 355 | A7: 2; A8: 1; A9: 4; C8: 553; C9: 524; C10: 541; C11: 548; C12: 368; H8: 308; H9: 452; H10: 468; H11: 381; H12: 306
| 356 | A7: 4; A8: 7; A9: 11; C8: 537; C9: 516; C10: 541; C11: 540; C12: 374; H8: 299; H9: 446; H10: 466; H11: 377; H12: 308
| 357 | A7: 5; A8: 5; A9: 5; C8: 536; C9: 499; C10: 541; C11: 532; C12: 360; H8: 285; H9: 436; H10: 447; H11: 366; H12: 303
| 358 | A7: 7; A8: 4; A9: 3; C8: 523; C9: 504; C10: 523; C11: 518; C12: 364; H8: 285; H9: 430; H10: 455; H11: 369; H12: 300
| 359 | A7: 5; A8: 6; A9: 8; C8: 500; C9: 495; C10: 520; C11: 516; C12: 368; H8: 277; H9: 423; H10: 441; H11: 364; H12: 301
| 360 | A7: 6; A8: 7; A9: 4; C8: 507; C9: 498; C10: 516; C11: 501; C12: 366; H8: 278; H9: 412; H10: 438; H11: 366; H12: 302
| 361 | A7: 5; A8: 8; A9: 8; C8: 494; C9: 468; C10: 498; C11: 489; C12: 363; H8: 279; H9: 408; H10: 429; H11: 368; H12: 296
| 362 | A7: 2; A8: 5; A9: 4; C8: 479; C9: 463; C10: 488; C11: 484; C12: 355; H8: 265; H9: 400; H10: 430; H11: 359; H12: 302
| 363 | A7: 6; A8: 6; A9: 5; C8: 468; C9: 462; C10: 486; C11: 466; C12: 345; H8: 257; H9: 393; H10: 409; H11: 347; H12: 294
| 364 | A7: 2; A8: 2; A9: 5; C8: 458; C9: 446; C10: 472; C11: 463; C12: 346; H8: 249; H9: 379; H10: 405; H11: 340; H12: 292
| 365 | A7: 8; A8: 2; A9: 5; C8: 440; C9: 426; C10: 455; C11: 445; C12: 345; H8: 249; H9: 369; H10: 392; H11: 341; H12: 280
| 366 | A7: 2; A8: 6; A9: 3; C8: 431; C9: 424; C10: 453; C11: 434; C12: 339; H8: 240; H9: 363; H10: 388; H11: 337; H12: 290
| 367 | A7: 0; A8: 4; A9: 6; C8: 407; C9: 412; C10: 449; C11: 420; C12: 334; H8: 230; H9: 345; H10: 370; H11: 322; H12: 288
| 368 | A7: 4; A8: 5; A9: 6; C8: 398; C9: 400; C10: 425; C11: 407; C12: 330; H8: 218; H9: 346; H10: 365; H11: 315; H12: 278
| 369 | A7: 3; A8: 3; A9: 5; C8: 390; C9: 385; C10: 415; C11: 400; C12: 325; H8: 218; H9: 329; H10: 359; H11: 305; H12: 291
| 370 | A7: 5; A8: 4; A9: 2; C8: 376; C9: 372; C10: 397; C11: 385; C12: 319; H8: 210; H9: 326; H10: 343; H11: 304; H12: 276
| 371 | A7: 3; A8: 3; A9: 2; C8: 366; C9: 357; C10: 391; C11: 361; C12: 305; H8: 197; H9: 307; H10: 329; H11: 296; H12: 269
| 372 | A7: 4; A8: 3; A9: 5; C8: 347; C9: 342; C10: 358; C11: 348; C12: 302; H8: 190; H9: 294; H10: 316; H11: 277; H12: 263
| 373 | A7: 4; A8: 3; A9: 5; C8: 328; C9: 328; C10: 355; C11: 335; C12: 298; H8: 181; H9: 280; H10: 306; H11: 271; H12: 260
| 374 | A7: 1; A8: 2; A9: 6; C8: 320; C9: 315; C10: 346; C11: 317; C12: 290; H8: 177; H9: 272; H10: 295; H11: 263; H12: 251
| 375 | A7: 2; A8: 3; A9: 5; C8: 308; C9: 311; C10: 338; C11: 309; C12: 283; H8: 169; H9: 263; H10: 291; H11: 252; H12: 251
| 376 | A7: 3; A8: 3; A9: 2; C8: 297; C9: 295; C10: 316; C11: 294; C12: 278; H8: 158; H9: 252; H10: 272; H11: 251; H12: 241
| 377 | A7: 4; A8: 2; A9: 2; C8: 284; C9: 279; C10: 308; C11: 287; C12: 284; H8: 156; H9: 243; H10: 266; H11: 247; H12: 242
| 378 | A7: 1; A8: 0; A9: 5; C8: 276; C9: 278; C10: 297; C11: 280; C12: 270; H8: 147; H9: 237; H10: 255; H11: 234; H12: 238
| 379 | A7: 5; A8: 4; A9: 3; C8: 266; C9: 267; C10: 289; C11: 270; C12: 267; H8: 142; H9: 228; H10: 253; H11: 229; H12: 235
| 380 | A7: 5; A8: 5; A9: 4; C8: 250; C9: 258; C10: 278; C11: 257; C12: 262; H8: 140; H9: 219; H10: 244; H11: 221; H12: 230
| 381 | A7: 1; A8: 2; A9: 4; C8: 246; C9: 249; C10: 277; C11: 250; C12: 257; H8: 134; H9: 215; H10: 236; H11: 221; H12: 232
| 382 | A7: 3; A8: 4; A9: 4; C8: 235; C9: 241; C10: 274; C11: 237; C12: 253; H8: 129; H9: 213; H10: 230; H11: 215; H12: 226
| 383 | A7: 5; A8: 6; A9: 5; C8: 233; C9: 241; C10: 256; C11: 233; C12: 253; H8: 125; H9: 200; H10: 224; H11: 212; H12: 216
| 384 | A7: 3; A8: 4; A9: 5; C8: 216; C9: 228; C10: 248; C11: 223; C12: 241; H8: 121; H9: 200; H10: 220; H11: 205; H12: 217
| 385 | A7: 3; A8: 3; A9: 5; C8: 211; C9: 221; C10: 247; C11: 221; C12: 239; H8: 121; H9: 187; H10: 211; H11: 202; H12: 217
| 386 | A7: 3; A8: 6; A9: 3; C8: 210; C9: 216; C10: 229; C11: 206; C12: 235; H8: 111; H9: 185; H10: 203; H11: 200; H12: 212
| 387 | A7: 1; A8: 4; A9: 2; C8: 204; C9: 211; C10: 233; C11: 201; C12: 233; H8: 106; H9: 181; H10: 205; H11: 191; H12: 207
| 388 | A7: 4; A8: 1; A9: 3; C8: 195; C9: 205; C10: 226; C11: 201; C12: 225; H8: 107; H9: 171; H10: 192; H11: 187; H12: 204
| 389 | A7: 1; A8: 5; A9: 0; C8: 192; C9: 192; C10: 218; C11: 186; C12: 226; H8: 103; H9: 167; H10: 181; H11: 187; H12: 195
| 390 | A7: 2; A8: 3; A9: 5; C8: 180; C9: 186; C10: 210; C11: 183; C12: 221; H8: 98; H9: 161; H10: 183; H11: 172; H12: 197
| 391 | A7: 5; A8: 3; A9: 0; C8: 176; C9: 180; C10: 202; C11: 171; C12: 214; H8: 93; H9: 157; H10: 174; H11: 176; H12: 189
| 392 | A7: 2; A8: 3; A9: 3; C8: 162; C9: 176; C10: 190; C11: 162; C12: 205; H8: 85; H9: 145; H10: 166; H11: 165; H12: 184
| 393 | A7: 3; A8: 1; A9: 3; C8: 158; C9: 166; C10: 189; C11: 158; C12: 203; H8: 88; H9: 143; H10: 164; H11: 157; H12: 180
| 394 | A7: 4; A8: 4; A9: 3; C8: 150; C9: 161; C10: 178; C11: 152; C12: 196; H8: 84; H9: 142; H10: 155; H11: 153; H12: 173
| 395 | A7: 1; A8: 4; A9: 2; C8: 141; C9: 151; C10: 169; C11: 146; C12: 191; H8: 79; H9: 133; H10: 147; H11: 145; H12: 160
| 396 | A7: 5; A8: 3; A9: 3; C8: 139; C9: 147; C10: 167; C11: 138; C12: 186; H8: 74; H9: 126; H10: 142; H11: 145; H12: 164
| 397 | A7: 3; A8: 4; A9: 4; C8: 133; C9: 138; C10: 155; C11: 130; C12: 178; H8: 72; H9: 118; H10: 135; H11: 139; H12: 165
| 398 | A7: 4; A8: 4; A9: 3; C8: 125; C9: 134; C10: 154; C11: 125; C12: 178; H8: 67; H9: 111; H10: 126; H11: 131; H12: 158
| 399 | A7: 2; A8: 2; A9: 3; C8: 121; C9: 127; C10: 145; C11: 121; C12: 169; H8: 64; H9: 109; H10: 124; H11: 132; H12: 152
| 400 | A7: 2; A8: 2; A9: 3; C8: 115; C9: 122; C10: 140; C11: 120; C12: 163; H8: 62; H9: 103; H10: 117; H11: 121; H12: 148
| 401 | A7: 6; A8: 5; A9: 2; C8: 109; C9: 116; C10: 135; C11: 110; C12: 166; H8: 61; H9: 102; H10: 118; H11: 120; H12: 144
| 402 | A7: 4; A8: 3; A9: 2; C8: 104; C9: 116; C10: 126; C11: 105; C12: 155; H8: 55; H9: 98; H10: 111; H11: 116; H12: 137
| 403 | A7: 1; A8: 3; A9: 4; C8: 103; C9: 108; C10: 124; C11: 97; C12: 148; H8: 53; H9: 91; H10: 106; H11: 108; H12: 137
| 404 | A7: 5; A8: 3; A9: 2; C8: 98; C9: 104; C10: 118; C11: 99; C12: 143; H8: 55; H9: 90; H10: 101; H11: 109; H12: 133
| 405 | A7: 4; A8: 2; A9: 3; C8: 91; C9: 100; C10: 117; C11: 95; C12: 146; H8: 52; H9: 89; H10: 100; H11: 105; H12: 131
| 406 | A7: 3; A8: 1; A9: 3; C8: 92; C9: 94; C10: 110; C11: 88; C12: 140; H8: 49; H9: 85; H10: 96; H11: 102; H12: 126
| 407 | A7: 4; A8: 0; A9: 2; C8: 86; C9: 95; C10: 109; C11: 87; C12: 137; H8: 45; H9: 81; H10: 92; H11: 97; H12: 124
| 408 | A7: 3; A8: 2; A9: 2; C8: 80; C9: 93; C10: 103; C11: 80; C12: 136; H8: 46; H9: 78; H10: 91; H11: 97; H12: 118
| 409 | A7: 1; A8: 4; A9: 3; C8: 84; C9: 87; C10: 102; C11: 80; C12: 127; H8: 42; H9: 73; H10: 85; H11: 95; H12: 114
| 410 | A7: 0; A8: 2; A9: 3; C8: 79; C9: 85; C10: 99; C11: 78; C12: 125; H8: 42; H9: 71; H10: 88; H11: 90; H12: 116
| 411 | A7: 3; A8: 2; A9: 5; C8: 79; C9: 80; C10: 93; C11: 75; C12: 119; H8: 40; H9: 69; H10: 81; H11: 86; H12: 109
| 412 | A7: 2; A8: 3; A9: 4; C8: 72; C9: 78; C10: 87; C11: 73; C12: 121; H8: 40; H9: 68; H10: 75; H11: 86; H12: 111
| 413 | A7: 3; A8: 4; A9: 2; C8: 67; C9: 78; C10: 94; C11: 72; C12: 120; H8: 37; H9: 68; H10: 77; H11: 87; H12: 105
| 414 | A7: 3; A8: 3; A9: 3; C8: 66; C9: 73; C10: 86; C11: 66; C12: 113; H8: 39; H9: 66; H10: 75; H11: 81; H12: 102
| 415 | A7: 6; A8: 2; A9: 3; C8: 63; C9: 71; C10: 81; C11: 66; C12: 110; H8: 34; H9: 59; H10: 74; H11: 76; H12: 99
| 416 | A7: 3; A8: 3; A9: 1; C8: 64; C9: 71; C10: 80; C11: 64; C12: 109; H8: 36; H9: 62; H10: 66; H11: 74; H12: 100
| 417 | A7: 6; A8: 2; A9: 4; C8: 63; C9: 66; C10: 83; C11: 57; C12: 103; H8: 31; H9: 55; H10: 65; H11: 74; H12: 95
| 418 | A7: 0; A8: 1; A9: 3; C8: 61; C9: 62; C10: 75; C11: 55; C12: 99; H8: 32; H9: 55; H10: 62; H11: 68; H12: 95
| 419 | A7: 4; A8: 4; A9: 4; C8: 55; C9: 59; C10: 71; C11: 51; C12: 98; H8: 29; H9: 51; H10: 57; H11: 68; H12: 87
| 420 | A7: 4; A8: 1; A9: 1; C8: 50; C9: 54; C10: 65; C11: 50; C12: 93; H8: 26; H9: 48; H10: 56; H11: 62; H12: 87
| 421 | A7: 2; A8: 4; A9: 4; C8: 50; C9: 54; C10: 62; C11: 44; C12: 86; H8: 26; H9: 44; H10: 56; H11: 58; H12: 80
| 422 | A7: 2; A8: 2; A9: 3; C8: 45; C9: 48; C10: 62; C11: 46; C12: 86; H8: 23; H9: 42; H10: 49; H11: 55; H12: 78
| 423 | A7: 2; A8: 3; A9: 3; C8: 45; C9: 50; C10: 56; C11: 39; C12: 82; H8: 24; H9: 43; H10: 47; H11: 55; H12: 76
| 424 | A7: 2; A8: 4; A9: 5; C8: 41; C9: 47; C10: 57; C11: 41; C12: 81; H8: 22; H9: 41; H10: 47; H11: 57; H12: 75
| 425 | A7: 3; A8: 2; A9: 3; C8: 39; C9: 45; C10: 53; C11: 40; C12: 81; H8: 23; H9: 42; H10: 43; H11: 54; H12: 67
| 426 | A7: 1; A8: 3; A9: 2; C8: 37; C9: 40; C10: 49; C11: 37; C12: 73; H8: 19; H9: 37; H10: 42; H11: 50; H12: 68
| 427 | A7: 1; A8: 2; A9: 3; C8: 37; C9: 40; C10: 47; C11: 33; C12: 71; H8: 20; H9: 35; H10: 40; H11: 46; H12: 67
| 428 | A7: 4; A8: 2; A9: 2; C8: 32; C9: 38; C10: 49; C11: 33; C12: 73; H8: 20; H9: 34; H10: 41; H11: 49; H12: 66
| 429 | A7: 3; A8: 2; A9: 3; C8: 31; C9: 36; C10: 43; C11: 31; C12: 68; H8: 21; H9: 32; H10: 39; H11: 46; H12: 67
| 430 | A7: 1; A8: 3; A9: 4; C8: 32; C9: 37; C10: 45; C11: 32; C12: 64; H8: 18; H9: 33; H10: 38; H11: 43; H12: 62
| 431 | A7: 2; A8: 2; A9: 5; C8: 33; C9: 35; C10: 43; C11: 31; C12: 67; H8: 16; H9: 31; H10: 37; H11: 42; H12: 62
| 432 | A7: 1; A8: 1; A9: 3; C8: 32; C9: 34; C10: 41; C11: 29; C12: 62; H8: 17; H9: 29; H10: 36; H11: 43; H12: 60
| 433 | A7: 0; A8: 3; A9: 2; C8: 28; C9: 32; C10: 41; C11: 28; C12: 65; H8: 15; H9: 30; H10: 35; H11: 39; H12: 60
| 434 | A7: 2; A8: 3; A9: 5; C8: 28; C9: 31; C10: 36; C11: 26; C12: 61; H8: 13; H9: 29; H10: 32; H11: 42; H12: 56
| 435 | A7: 4; A8: 3; A9: 1; C8: 27; C9: 29; C10: 37; C11: 25; C12: 61; H8: 13; H9: 27; H10: 31; H11: 38; H12: 57
| 436 | A7: 3; A8: 2; A9: 3; C8: 27; C9: 31; C10: 35; C11: 27; C12: 58; H8: 17; H9: 24; H10: 30; H11: 40; H12: 57
| 437 | A7: 2; A8: 2; A9: 4; C8: 25; C9: 32; C10: 33; C11: 26; C12: 59; H8: 13; H9: 26; H10: 31; H11: 39; H12: 56
| 438 | A7: 2; A8: 3; A9: 2; C8: 22; C9: 29; C10: 33; C11: 24; C12: 56; H8: 12; H9: 23; H10: 31; H11: 37; H12: 54
| 439 | A7: 2; A8: 5; A9: 3; C8: 26; C9: 28; C10: 36; C11: 25; C12: 58; H8: 12; H9: 26; H10: 33; H11: 37; H12: 53
| 440 | A7: 4; A8: 4; A9: 3; C8: 22; C9: 27; C10: 34; C11: 23; C12: 56; H8: 12; H9: 24; H10: 27; H11: 34; H12: 56
| 441 | A7: 1; A8: 3; A9: 2; C8: 21; C9: 26; C10: 31; C11: 20; C12: 51; H8: 12; H9: 23; H10: 27; H11: 34; H12: 52
| 442 | A7: 1; A8: 2; A9: 1; C8: 21; C9: 25; C10: 33; C11: 20; C12: 51; H8: 12; H9: 24; H10: 30; H11: 32; H12: 51
| 443 | A7: 3; A8: 4; A9: 4; C8: 20; C9: 24; C10: 32; C11: 20; C12: 50; H8: 13; H9: 23; H10: 26; H11: 35; H12: 49
| 444 | A7: 6; A8: 3; A9: 3; C8: 21; C9: 24; C10: 29; C11: 17; C12: 45; H8: 13; H9: 18; H10: 25; H11: 32; H12: 44
| 445 | A7: 1; A8: 3; A9: 3; C8: 18; C9: 22; C10: 27; C11: 20; C12: 52; H8: 10; H9: 18; H10: 26; H11: 31; H12: 48
| 446 | A7: 2; A8: 0; A9: 1; C8: 21; C9: 21; C10: 24; C11: 18; C12: 44; H8: 9; H9: 19; H10: 27; H11: 30; H12: 45
| 447 | A7: 5; A8: 2; A9: 2; C8: 20; C9: 21; C10: 22; C11: 19; C12: 41; H8: 10; H9: 18; H10: 23; H11: 28; H12: 40
| 448 | A7: 4; A8: 3; A9: 4; C8: 20; C9: 20; C10: 28; C11: 16; C12: 44; H8: 11; H9: 18; H10: 25; H11: 29; H12: 43
| 449 | A7: 1; A8: 6; A9: 3; C8: 15; C9: 20; C10: 26; C11: 17; C12: 44; H8: 8; H9: 19; H10: 17; H11: 29; H12: 39
| 450 | A7: 5; A8: 3; A9: 3; C8: 15; C9: 18; C10: 24; C11: 14; C12: 41; H8: 12; H9: 17; H10: 19; H11: 25; H12: 41
Results
|  | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
| A | ????? | ????? | ????? | ????? | ????? | ????? | 12 | 13 | 12 | ????? | ????? | ????? | Mean Max RFU [EM Spectrum]
| B | ????? | ????? | ????? | ????? | ????? | ????? | ????? | ????? | ????? | ????? | ????? | ????? | Mean Max RFU [EM Spectrum]
| C | ????? | ????? | ????? | ????? | ????? | ????? | ????? | 652 | 608 | 624 | 658 | 378 | Mean Max RFU [EM Spectrum]
| D | ????? | ????? | ????? | ????? | ????? | ????? | ????? | ????? | ????? | ????? | ????? | ????? | Mean Max RFU [EM Spectrum]
| E | ????? | ????? | ????? | ????? | ????? | ????? | ????? | ????? | ????? | ????? | ????? | ????? | Mean Max RFU [EM Spectrum]
| F | ????? | ????? | ????? | ????? | ????? | ????? | ????? | ????? | ????? | ????? | ????? | ????? | Mean Max RFU [EM Spectrum]
| G | ????? | ????? | ????? | ????? | ????? | ????? | ????? | ????? | ????? | ????? | ????? | ????? | Mean Max RFU [EM Spectrum]
| H | ????? | ????? | ????? | ????? | ????? | ????? | ????? | 363 | 527 | 541 | 416 | 321 | Mean Max RFU [EM Spectrum]
Well | Well ID | 1: Name; 2: Mean Min RFU [EM Spectrum]; 3: W at Mean Min RFU [EM Spectrum]; 4: Mean Max RFU [EM Spectrum]; 5: W at Mean Max RFU [EM Spectrum]
H9 |  | 2: 17; 3: 450; 4: 527; 5: 341
H10 |  | 2: 17; 3: 449; 4: 541; 5: 343
H11 |  | 2: 25; 3: 450; 4: 416; 5: 345
H12 |  | 2: 39; 3: 449; 4: 321; 5: 349
C8 |  | 2: 15; 3: 449; 4: 652; 5: 345
A9 |  | 2: 0; 3: 312; 4: 12; 5: 324